# SOUND PROPAGATION INDOORS

Room acoustic is a very important topic: many places of our everyday life such as theatres, cinemas and classrooms are affected by this problem. In addition, noise effects in work places or buildings, where people is exposed to noise for the whole day, is not something taken for granted. For the first kind of indoor environment Sound Pressure Level is not the most relevant parameter. In fact, other parameters related to quality are used.

But how loud is a sound inside a room? What happens when we’re placing a sound source in an enclosed space?

## Direct and Reflected sound

In many kinds of enclosed spaces, the sound propagates in a peculiar way, very different from what happens outside (even if there are obstacles or sound barriers that can cause reflection). There still is a free field sound (direct waves) where waves travel directly from the source to the receiver. Of course if it is a point source the sound propagates with spherical waves; if a line one, with cylindrical waves.

But this is not the only sound. It is not even the most relevant one.

In most cases much more energy arrives to the receiver by a significant contribution due to room reflections: the sound bounces over the walls, floor etc. (reflected waves).

Fig.01 – different types of waves

In Fig.01, for example, sound is bouncing over the ceiling and a wall before reaching the receiver; surely there will be multiple reflections, also several times, with different and strange trajectories acting like a so-called “acoustic billiard”.

So there is a significant contribution to the sound field due to reflected waves.

There is a strict relationship with light, which can reflect specularly (mirror) or diffusely (white plastered wall).

The chart above, known as “reflectogram”, shows what happens inside a room by means of a so-called energetic impulse response. As a metter of fact the source has radiated an impulse (a hand clap for example) with a length of 2-3 milliseconds. Outdoor the response should have been different: just one peak, followed by silence, as before.

Inside a room, we do not ear only the direct sound: that is just the first sound we ear. After a while, reflections arrive from different ways that we’re not able to know because pressure is an omnidirectional quantity, not a vector. Every peak in the chart is a discrete room reflection making longer and longer paths, arriving weaker and weaker.

So the sound pressure level inside a room can be given by two contributions: direct sound and reflected sound. In some cases one dominates on the other, but, in general, we have to keep both.

## Properties of materials

The reflected energy depends on the nature of the surface: there are strongly reflective materials, so they reflect almost 100% of the energy. On the other hand, other materials are “acoustic absorbers”, like a carpet. This last kind of materials can be really useful in order to reduce sound pressure level inside a room by reducing the amount of reflected energy.

Let’s consider a wall for example (fig.02), which is separating two different rooms. When a sound source is placed on the left hand side room, the sound bounces over the separation wall and some energy is reflected, coming back in the source room. Some energy is dissipated inside wall’s material. Another quantity of energy passes through the wall and the sound can be heard in the next room (like we can ear an aircraft flying over our house).

So energy is divided into three contributions: reflected energy, absorbed energy and transmitted energy.

Fig.02 – sound energy subdivision over a wall

This also happens for light and electromagnetic waves (e.g. radio waves)

We can now define 3 numerical coefficients (reflection, absorption and transmission coefficients)

r=Wr/W0 , a=Wa/W0, t=Wt/W0

Their sum must be one because of the energy conservation principle.

r + a + t =1

Of consequence, their value is bounded between 0 and 1.

0 < r,a,t < 1

A very reflecting surface (like a window glass) will have r=1; a,t=0. An open window is completely transmitting so t=1; r,a=0.

Acousticians, however, do not employ any of these three numbers. They only use the so called “apparent acoustic absorption coefficient” , defined as

  = 1 - r                                          (1)

It expresses the energy which has not been reflected. That energy can be absorbed (a) or it can be transmitted (t). So it is possible to write  also as:

 = a + t                                         (2)

An open window has a unit value of .

A perfect reflecting material has  = 0.

All we need to know about the materials covering a room (ceiling, walls, floor etc.) is the apparent absorption coefficient .

## Indoor acoustic field

In an enclosed environment, the acoustic field can be of three different kinds: free (in which reflected energy is weak), reverberant (in which reflected energy is dominant) and semi-reverberant (intermediate case in which we have to consider both).

A field is defined as free when we are close to the source, where the direct energy component prevails: compared to it, the contribution of all the reflections becomes negligible. It exists in every room.

In this case, the field is the same as outdoors, and only depends on source distance and directivity, Q. Sound pressure level is

Lp=Lw+10logQ4πd2

In which LW is the sound power level of the source, Q its directivity, and d is the distance between source and receiver. In a free field, the sound level decreases by 6 dB each time distance d doubles.

A field is said to be reverberant if the number of side wall reflections is so elevated that it creates a uniform acoustic field (even near the source).

The equivalent acoustic absorption area of the room is defined as:

A=αS=αi⋅Si                          (m2)

where a is the average absorption coefficient and S is the total interior surface area (floor, walls, ceiling, etc.).

In a purely-reverberant sound field, the Sound Pressure Level is:

Lp=Lw+10log4A

Its value is the same everywhere in the room (diffuse field). A reverberant field may be obtained in so called reverberant chambers, equipped with diffusers and funny shapes sized, where the absorption coefficients of different materials are also measured. In real world it really doesn’t exist. For this reason this is just a theoretical case.

A field is said to be semi-reverberant when at every point the sound field is affected both by the free field and by the reverberant field.

In most normally sized rooms, we can suppose that the acoustic field is semi-reverberant. Sound pressure level is

Lp=Lw+10logQ4πd2+4A

In a semi-reverberant acoustic field, the sound energy density at a point is therefore given by the sum of the direct and reflected acoustic fields.

Fig.03 – semi-reverberant curves

In the graph above  there are many curves: each one is plotted for a different value of the total room absorption A. The blue zone (A = ) represents the limit case for a free field while the red one marks a zone on which the acoustic field is practically reverberant. In between the two zones there is the semi-reverberant field where we should not neglect any of the two contributions.

If we take into account one single curve (for example the one for A=160m2 as in Fig.03) we notice that reverberant sound level represented by the horizontal line and direct sound level represented by the sloped one, meet each other in a special point in which the two levels are the same. Known as critical distance, this point marks the separation between the two cases.

Fig.04 – critical distance point

We can now compute the value of critical distance by means of the semi-reverberant formula, where it is possible to notice two contributions.

The two terms must be equal: then, solving the equation, we find the critical distance expression.

Q4⋅π⋅d2=4α⋅S

We can notice that the critical distance is increased by the directivity of the source (very big loud speakers employed in sport arenas can project the sound very far); again, a large value of A=S increases the critical distance. So in a room with small absorption there is a small critical distance, as in reverberant rooms.

At distances equal two or three times the critical distance, we can think that the sound field is fully reverberant. Hence, in a reverberant room, as we move only slightly away form the source, we find a perfectly diffuse sound field, with the same level everywhere.

## Reverberation Time

The concept of reverberation time is central to acoustics and is considered the mindstorm of modern acoustics. It is related with the sound decay in time and was invented by professor Wallace Clement Sabine in 1902.

In general reverberation is the persistence of sound in a particular space after the original sound is produced.

Sabine started his experiments using an organ as a sound source, a stopwatch and his ears; he measured the time from interruption of the source to inaudibility (approximately 60 dB) and found that the reverberation time is proportional to the dimensions of the room and inversely proportional to the amount of absorption present.

It is very important to notice that before the studies carried out by professor Sabine the acoustical evaluation of a room was only empirical.

Professor Sabine in 1902

## Reverberation Time T60

If we consider a room containing an active sound source and abruptly interrupt the emission of sound energy once it has reached a steady state we obtain the following results as shown in the charts below:

When we switch on the source the sound energy density increases until we reach an equilibrium in which as much power radiated by the source in one second is dissipated in one second.

After we have reached the steady state of sound energy density (in which the room is leaking sound at the boundaries but is continuously getting new sound from the source) we abruptly switch off the sound source.

We can easily verify how the decay is NOT linear.

But if we consider a chart of sound pressure level (dB) shown on the right we can observe that the decay is not exponential like before but linear; in other words the slope of the decay is CONSTANT.

The reverberation time is a strange way of expressing this slope; as a matter of fact normally the slope would be expressed by a quantity in dB/s. Instead the reverberation time was defined as how much time it takes for decaying a certain number of decibels (in particular 60 dB because in his experiment  Sabine noticed that the distance between the sound produced by his organ and the background noise was 60 dB).

Reverberation time is therefore defined as the time necessary for the sound energy density to decrease to a millionth (60 dB) of the value it had before the source was switched off.

This is a formal definition, although isn’t accurate in practical situations, because in a room the sound doesn’t really decay of 60 dB.

First of all the decay is not the continuous line which you would expect by the charts illustrated above.

In fact at the beginning for a certain number of decibels we can see some “gradons” that represent the loss of discrete contribution of the total energy every time a single discrete reflection goes away.

These gradons keep getting smaller in time but at the beginning they are very easy to distinguish.

A more realistic chart is shown below:

When the sound source is on we have a perfectly constant level, at a certain time the direct sound is interrupted so the sound level falls for a couple of dB.

Then for a short time the sound is still constant until the first reflection goes away and so on (sound reflections become smaller and smaller). After a while we see a decay going down with a certain slope. The curve in the end asymptotically approaches the background noise that is always present in a room.

The current international standard ISO 3382 – 2011 requires to compute not a reverberation time over a decay over 60 dB but recommends to measure the time for a decay starting at -5dB (relative to the steady state level) and ending at -25 dB.

By multiplying this decay time for 3 you easily obtain the True Reverberation Time (T20).

The standard also defines T30 , T10 (unused) and EDT (early decay time).

T30 measures the decay between -5 dB and -35 db, T10 between -5 dB and -15 dB and EDT between 0 and -10 dB.

T10 ,T20, and T30 need to be multiplied by a number of times so that the decay is 60 dB.

If the decay is perfectly linear T10 = T20 = T30

In addition, for the measurements to be correct the end point of the decay must be at least 15 dB above the background noise level. If this does not happen the measurement must be repeated by using a more powerful sound source or by reducing the background noise level.

SABINE’S FORMULA

Professor Sabine defined the concept of Reverberation Time in Boston in 1902. Not only did he explain how to measure it but he also found the way of predicting the reverberation time of a not existing room; in this way you can know in advance how the reverberation time will be depending also on the type of materials of the room.

If the environment is perfectly reverberant the value of the reverberation time is the same in all points and is:

T60=0.16⋅Viαi⋅Si

where V is the volume of the environment. It is also possible to determine the equivalent area of acoustic absorption  A = α S

If we reverse the formula we can directly obtain the total acoustical absorption area:

Substituting in the critical distance formula:

As we can see the critical distance is directly proportional to the volume of the room and inversely proportional to the reverberation time.

# Acoustical Parameters

## The ISO 3382 Standard

This standard defines the acoustical parameters related to the analysis of the impulse response of a room and particularly is based on quality of the acoustic in terms of musical perception and speech intelligibility.

Fig.1 – ISO 3382 parameters.

## From Impulse Response to Sound Decay

By the theoretical model:

Reverberation Time: time required for a sound decay of 60 dB.

But we are not having a source radiating a steady state sound with a constant power, we have an impulsive source.

We have a very short pulse (the direct sound radiated by the source), then a silence gap, then the first reflection (another pulse), then silence again, going to an increased temporal density of the reflections. This is not similar to the approximated linear sound level decay we can see switching off a steady state source.

Fig. 2 – Pulsive Source and its reflections.

Indeed, we can’t apply the definition of reverberation time to the original impulse response.

We need to perform a time integration for transforming the response of the room to a pulse into the response of the room to a steady state sound switched off.

The steady state level produced by a source which continuos radiating the same power of the pulse radiated by our pulsive source is a total time integral of the impulse response h (or g), a total sound pressure level:

Lp,tot=h2t'⋅dt'	(1)

We can compute the decay subtracting each energy arrival of each reflection from the total energy. This total value is a forward or upward running integral:

Lp,forw=h2t'⋅dt'	(2)

The curve we are building is the total integral minus the running integral which comes back, thanks to the integral properties, to the backward integral (Schroeder Backward Integral):

Lp,backw=h2t'⋅dt'	(3)

Fig. 3 – Computing sound decay: Total integral, running integral and Schroeder BW Integral.

Schroeder BW Integral transforms impulse respose into the decay of a stationary source, obtaining a very accurate extimation of the shape of the curve, better than measurements with a real steady state source. This way we can measure an accurate reverberation time according to the ISO 3382 standard.

Fig. 4 – Stationary Sound Decay in dB (blue) obtained applying Schroeder BW to an Energetic Impulse Response in dB (black).

## Reverberation Time

ISO 3382 doesn’t ask to measure reverberation time over a 60 db sound decay because of the signal to noise ratio, we can never wait for a 60 db decay. So the standard tells us to measure T20, defined as three times the time required for a 20 db decay. Every reverbation time is referred to a 60 db decay.

Fig. 5 – ISO 3382 Standard’s T20 definition.

Actually the standard defines four reverberation times:

- Early Decay Time (EDT), extrapolated from 0 to -10 dB

(discrete reflections region, not in the reverberant tale)

- Reverberation Time T10, extrapolated from -5 to -15 dB

- Reverberation Time T20, extrapolated from -5 to -25 dB

- Reverberation Time T30, extrapolated from -5 to -35 dB

## Early – Late Parameters

The Early-Late Energy concept  is based on the subdivision of the reverberant tale in two parts: Useful Energy and Detrimental Energy. This distinction is not correct, our ears love reverb, (if we cut the last part of the response of a room it would sound dry, dead, so this means last part is important too), but we can search a proper balance between these two parts of the response.

Fig. 6 – Distinction between Useful and Detrimental Energy.

In a room, in spite of the same reverberation time, we can find different responses moving the microphone in different positions, so we need others parameters above reverberation time.

Fig. 7 – IR measured near the source (a) and far from the source (b) in the same room.

- Clarity Index C80 (Symphonic Music):

C80=10⋅lg080msp2τ⋅dτ80ms∞p2τ⋅dτ    Optimal value = +/-1 dB    (4)

The boundary between useful and detrimental energy is set to be equal to 80 ms, the integration time of our brain when listening to music.

This is a ratio between early and late energy, and its optimal value is 0 db: when early energy equate late energy.

- Clarity Index C50 (Speech):

C50=10⋅lg050msp2τ⋅dτ50ms∞p2τ⋅dτ   Optimal value = +/-1 dB     (5)

The boundary is set to be equal to 50 ms, the integration time for speech.

- Definition Index D:

D=050msp2τ⋅dτ0∞p2τ⋅dτ⋅100                        (6)

Equivalent of Clarity, used in North Europe. We use Clarity.

- Center Time ts:

ts=0∞τ⋅p2τ⋅dτ0∞p2τ⋅dτ                            (7)

There’s no pre-defined boundary, it’s the point of balance between the energy which is before and the energy which after. Optimal center time to listening to music is 80 ms, for speech is 50 ms.

This parameter can be very important in calibration of rooms for specific kind of music or speech: different genres of music need different balance between early and late energy for optimal listening (ex. Gregorian – Rap music). Same concept for different languages.

## Other Parameters

- Strenght G:

G=SPL−Lw+31dB                          (8)

Sound strength is the sound pressure level scaled on the sound power level of our sound source, it is the boost of the room.

This is very important for speech or for singing when the room must provide support. We subtract the SPL at 10 m from our SPL. This means that in the range of 10 m we have a boots because of the reflections.

- Inter Aural Cross Correlation IACC:

ρτ=limT→∞12T−TTpdt⋅pst+τdtlimT→∞ 12T−TTpd2tdt⋅−TTps2t+τdt             (9)

IACC is a spatial parameter defined as the correlation between the signal measured at the entrance of the ears of a dummy-head or of a true human head. Lower IACC means a high perception difference between the two microphones and so a good stereophony and envelopment.

Fig. 8 – Binaural IR measurements. Calibrated on 80 ms for music.

Some reflections arrive louder to only one of the two microphones: those are lateral reflections and they help to perceive spatiality. Some others are the same in both the IR and can’t help to recognize direction of the sound: those are ceiling reflections for example.

- Lateral Fraction JLF:

JLF=5ms80mshY2τ⋅dτ0ms80mshW2τ⋅dτ                                  (10)

Lateral Fraction is a spatial parameter defined as the ratio between the sound coming from a side and the whole sound. For measurement we can use a pressure-velocity microphone.

Fig. 9 – Pressure-velocity microphone measurements.

This time the two IR channels are not Left-Right but Omni-Figure of eight. The integral start after 5 ms so, even if we haven’t placed the microphone facing the source (from top in Fig. 11), direct sound doesn’t affect our measurements.

Usually only one of the two spatial parameters is measured:

JFL≈1−IACC                                           (11)

## Measurements reproducibility

Testing different Dummy-Heads (for IACC) and Pressure-velocity microphones (for Lateral Fraction) in the same room with the same source and comparing the results  we can see that these measurements are not very scientific and each dummy head/microphone can give a different result.

This means we can trust this measurements for spatial analysis only when used comparatively, we can’t take them as absolute.

## The Aurora Acoustical Parameters and STI Plugins

Aurora software has a nice plugin for IR’s analysis which can give us all the parameters contained in the ISO 3382 standard. We can also isolate  single frequency and observe IR and parameters resulting from the analysis.

Fig. 10 – Acoustical Parameters plugin.

Another very useful Aurora plugin is STI, which computes the Speech Transmission Index:

Fig. 11 – Acoustical Parameters plugin.

Speech Transmission Index

1 - The STI method	1

2 - MTF from impulse Response	3

3 – Transducers: mouth simulator	5

4 – Noise-free IR Method (Aurora Plugins)	9

4.1 - Calibration	9

4.2 - Background Noise spectrum	10

4.3 - Signal spectrum	10

4.4 - Impulse Response (noise-free, ESS method)	11

# 1 - The STI method

STI is the acronym of “Speech Transmission Index”, it’s defined as an estimate of speech intelligibility, and it’s standardized in IEC 60268/16.

Intelligibility means capacity of a receiver to listen correctly phrases and words pronounced by a source.

The index does not define directly intelligibility, but a low value defines a loss of information necessary to understanding speech correctly.

Intelligibility is a fundamental factor to evaluate the quality of communication inside a room or through telephonic equipment.

Many factors that influence intelligibility do exist:

- If the speaker's voice comes through an electro-acoustic system, there are factors that can affect intelligibility (for examples frequency response and distortion of the system).

- The acoustic characteristics of the environment are the reverberation (or reflections), the presence of background noise, the echoes, etc.

We will study the two most significant factors: background noise and reverberation.

The STI method is based on the MTF concept, which defines how much the modulation of a carrier signal (one-octave-band-filtered noise) is reduced when such a test signal passes through the system under test.

The MTF factor is defined as the ratio of the carrier’s modulation at the receiver (ex. 50%) and the carrier’s modulation at the source (ex. 100%).

The carrier signal is pink noise filtered in one octave band. The measurement is repeated for 7 octave bands (125 Hz to 8 kHz). We call f the center frequency of the carrier.

The modulation is applied as a periodic variation of the carrier’s intensity between 0 and the maximum value (hence, initially, the modulation is at 100%). The modulation frequency is called F, and ranges between 0.63 Hz and 12.5 Hz.

Hence, we can measure a large number of MTF(f,F) values, given by all the possible combinations of f and F.

Fig.1 – The initial modulation of the carrier is reduced by the propagation and by the environmental noise.

Fig.2 – Sound propagation through an acoustic system reduces the carrier’s modulation.

Once the MTF value is found at every value of f and F, the values referring to each octave band are first averaged. Then, a weighted average of these “Band STI” values is performed, employing averaging factors depending on the gender of the talker (male or female).

The resulting “total” STI is defined as a number bounded between zero and one.

The maximum value is one (100%) and defines perfect intelligibility, the minimum value is zero (0%) and means that the modulation is not audible.

Fig.3 – STI and CIS scale of values .

Another reference scale called CIS (Common Intelligibility Scale) exists, based on a mathematical relation with STI:

CIS=1+log(STI)	(1)

# 2 - MTF from impulse Response

The IEC standard defines a method to measure STI values.

The test signal has spectral characteristics and directivity similar to the human voice.

f defines the octave bands (7 bands between 125Hz and 8kHz), while F defines the modulation frequency, where the human mouth opens and closes (between 0.63 Hz and 12.5 Hz).

Fig.4 – MTF test signal.

The MTF matrix can be computed by a single impulse response (IR).

MTF(f,F) is defined by the combination of two factors: reverberation (first factor) and signal/noise ratio (second factor).

m(f,F)=0∞hf2τ⋅exp−j⋅2⋅π⋅F⋅τ⋅dτ0∞hf2τ⋅dτ⋅11+10Lnoise,f−Lsignal,f10	(2)

Shroeder’s equation computes the first factor, related to reverberation, called m’(F) (the calculation is based on the octave-band filtered impulse response hf).

The loudness and duration of the reverberant tail decrease the value of STI. However, for a given reverberation time, its effect will be worst at higher modulation frequency F, hence it is usual to see the value of MTF(f,F) to decrease with F.

At high frequency usually the S/N ratio is better than at low frequency, hence typically MTF(f,) increases with f. The second factor of equation (2) does not depend on the modulation frequency F, so, if the low value of MTF is caused by a S/N ratio problem, the MTF curve is NOT decreasing with F, as it happens instead when the reverberation is the limiting factor to intelligibility.

Hence, the experienced acoustician immediately understands, looking at the table or chart of MTF(f,F), if the intelligibility problems are caused by excessive reverberation or excessive noise (or both).

The male voice has more energy at low frequency, the female voice instead has more energy at high frequency, in fact usually the female voice is more audible than the male one, as it profits of better S/N ratio at high frequency.

Fig.5 – m(F) matrix, m(F) average values for octave bands and total STI values for male and female voices.

Fig.6 – Post processing of impulse response.

STI requires to measure MTF(f,f9 on seven octave bands and 14 modulation frequencies, RaSTI (Rapid STI) is measured at just two octave bands (500Hz and 2kHz) and with a smaller number of modulation frequencies.

Nowadays the technology is able to compute in the same time the complete MTF matrix, and the full STI – so the use of RaSTI is now obsolete, such as other “rapid” versions of ST, named STIpa and STItel – it is always preferable to measure the full STI, as the measurement time is indeed always the same..

# 3 – Transducers: mouth simulator

A mouth simulator has characteristics in level and directivity similar to those of a real human talker

.

Fig.7 – Simulators build inside a wooden head (employing low-cost parts) and in (expensive) plastic head.

The validity of the mouth simulator is confirmed by a means of anechoic directivity tests.

Mouth simulator’s spectrum can be adjusted to become perfectly equal to the standardized human voice spectrum, but the directivity is always slightly different.

The spectrum of emitted test signal should correspond to the ITU T-P50 standard.

The overall SPL should be 60 dB(A) at 1m, on axis, for measurements compliant with IEC 60268-16 standard.

Fig.9 – directivity (up real, down simulator, blue line ITU limits).

Fig.10 – target spectrum according to ITU P50.

The equalization of the simulator is easily operated by means of the graphic equalizer included in Adobe Audition.

Fig.11 – Graphic equalizer.

The test signal is prefiltered, so that the frequency response measured at 1m in front of the mouth, complies with the IEC spectrum (or, better, with the ITU P50 standard, which specifies values in 1/3 octave bands).

The measured IR is saved as a WAV file.

Fig.12 – MLSSA calculates MTF for “no noise” (up) and “noise” (down).

Fig.13 – Equation (2) has high accuracy because differences of real and simulated MTF are minimal.

.

# 4 – Noise-free IR Method (Aurora Plugins)

“Aurora Plugins Suite” can be used for a complete STI measurement, requiring four steps, as follows:

# 4.1 - Calibration

The calibrator is fitted over the microphone and a 1-minute recording of the 1kHz test signal at 94 dB is done.

Fig.14 –microphone calibration.

The STI plugin is invoked, forcing the Leq value to be 94 dB at 1 kHz. Later on, the Full Scale value will be left untouched, so that the microphone is now calibrated in absolute SPL.

# 4.2 - Background Noise spectrum

Fig.15 – Record background noise and store it as noise.

# 4.3 - Signal spectrum

Fig.16 – Record the pre-equalized wide-band noise (voice spectrum calibrated at 1m) and store it as signal plus noise.

# 4.4 - Impulse Response (noise-free, ESS method)

Now, a standard I measurement is performed, generating the ESS signal, playing it through the mouth simulator, recording the system response at the microphone, and finally performing deconvolution (convolution with the inverse sweep). The resulting IR is stored in a WAV file, usually normalized to full scale (as the absolute SPL of a noise-free IR is meaningless)

From this IR, the Aurora STI plugin computes the MTF values for every frequency, also taking optionally into account the S/N ratio.

The MTF values are also weighting averaged, to compute male and female STI (the weightings are different).

Fig.17 – Aurora processes the IR, “Noise” and “Signal” to compute MTF averaged coefficients and male and female STI. The plugin also computes RaSTI, STItel and STIpa

The nice thing of this approach is the possibility to evaluate “what happens if” – for example, if the voice is raised by +10dB (a specific check box is available for this).

Or, by processing the IR, it is possible to simulate a room treatment which reduces the reverberation time, or to suppress a single discrete echo.